## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
79 Lambton Avenue
Consett
County Durham
DH8 7JF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6019
DATE OF REPORT: 26/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6019
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 79 Lambton Avenue
Consett
County Durham
DH8 7JF
Carried Out On | 11/02/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
As per conversation with josh please carry out survey to boiler and heating system and provide a report.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6019
SECTION 3: Report
attended site with james moore. Combi boiler replacement vaillant ecotec pro 28 horizontal flue magnaclean pro 2 chemical pack 15mm filling loop 15mm limefighter

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes