## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
48 High Catton Road
Stamford Bridge
YORK
YO41 1DX
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 21-6020
DATE OF REPORT: 26/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6020
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | 48 High Catton Road
Stamford Bridge
YORK
YO41 1DX
Carried Out On | 25/01/2021 13/01/2021
Survey Completed By | Dan Sanderson
SECTION 2: Introduction
survey and install new boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6020
SECTION 3: Report
Contact number 07806836353 (tenant works everyday till late so appointment will need to be booked) Boiler currently in is a glow worm untracom 30cxl Horizontal flue with extension will be required Condensate runs internally Filter and maga clean required. Rf room thermostat.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes