## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6037
DATE OF REPORT: 20/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6037
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 14 Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 20/01/2021, 15/01/2021, 14/01/2021, 13/01/2021, 12/01/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hot water in property. Reported by Karbon member of staff who works with tenant has reported that cant get any hot water form any tap in property. All heating seems to be working fine.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6037
SECTION 3: Report
1500 -1530 Arrived on site and gained access to building . Checked with Dave Aston in site , he is going to install a new PCB into the HMI unit tomorrow. Tennent informed. Attend site 08.15 no answer so knock on it at 08.30 , 09.00, 09.30 and again at 10.00 still no answer put note through door saying zenith has attended several times but no access (there was other stuff I could get on with in between trying to get access) Offsite 1000 Attend site 1300 strip hiu unit down find pcb and heating 2 port valve have be disconnected by others , replace the pcb and test but find pump not getting any power, carry out tests but need to speak to mhs the boiler manufacturer to trace the fault they had me on hold for 40 mins then put the phone down on me , I will return to site tomorrow to investigate Offsite 1400 fow 15/01/21 1600 no access knocked on door no answer Onsite 1300 20/01/21 Gain access to hiu unit, using the wiring diagram from the manufacturer, re wire the unit, test all operations and find all working tennants now has hot water Offsite 1400 complete Parts used 1 no mhs pcb 5 no cable connectors van stock £5.00

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6037
SECTION 4: Photos
Room / Area
Description
Notes
Knocked from 0815 to 1000 but no answer
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6037
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6037
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6037
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6037
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes