## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rosebank Hall
Willington Terrace
Wallsend
NE28 7BT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6044
DATE OF REPORT: 14/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6044
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Rosebank Hall
Willington Terrace
Wallsend
NE28 7BT
Carried Out On | 14/01/2021 08/01/2021, 12/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Heating and hot water not working properly. both are only luke warm, in the whole building .Please treat as Urgent.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6044
SECTION 3: Report
Attend site 1230 for no heating Find pressurisation unit in fault and 2 no heating boilers off on fault code E14 pcb error Carry out tests on pressurisation unit and find transponder reading incorrectly, and pump siezed contact Richard from Morgan sindall and he agreed to replace the whole unit, order new unit to fit next week, but link out control cables so heating can operate. Once heating on 2 of the 3 boilers in fault E14 this fault is ignition control board, contact every wholesalers in the area and only one available in the North East so travel to border heating to collect 1 x pcb and order 2 x more , 1 for site and one van stock. Return to site and fit pcb to no 2 boiler commission and test all ok , 2 boilers now working and heating up to temperature and domestic hot water up to 60° Will return next week to replace the pressurisation unit and pcb. Offsite 1515 fow Attended site to fit new pressurisation unit as per instructions. Fitted new unit to boiler jig, with slight pipe work alterations. Once all connections where made both electrical and hydraulic, i tuned on the cold water supply and the small control panel. Then tested operation, which is all correct. Cleaned work area and removed all waste and old unit.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6044
SECTION 4: Photos
Room / Area
Description
Notes
Pressurisation unit has a faulty transducer and siezed pump , new unit ordered
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes