## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Stanley Court (Flats 1-30)
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6048
DATE OF REPORT: 12/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6048
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Stanley Court (Flats 1-30)
Stanley
County Durham
DH9 6HD
Carried Out On | 08/01/2021,12/01/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Repair communal boiler not working no c. h or hot water as reported by Dale Griffiths

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6048
SECTION 3: Report
Attend site 1530 for hot water boiler in fault 12 Carry out tests and find low burner pressure in 1.2 mb contact manufacturer and the technical department at rinnai informed me that the age of the boilers it should now be set to 1.6mb, set this using the dip switches and test all ok Boiler now running at 1.6mb low and 7.6mb high fire all ok Also find domestic hot water pump siezed order new to fit next week Offsite 1715 fow LPC 12.1.21 0825 - 0905 Arrived on site and gained access to building. Isolated DHW secondary return pump , and fitted new pump as req. Tested for leaks and vented , monitored functions and performance all ok .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6048
SECTION 4: Photos
Room / Area
Description
Notes
DHWpump siezed new pump ordered but site has hot water all ok
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes