## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Aged Miners Homes
Shotton Road
Peterlee
SR8 4RA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6072
DATE OF REPORT: 11/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6072
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 18 Aged Miners Homes
Shotton Road
Peterlee
SR8 4RA
Carried Out On | 10/01/2021, 11/01/2021
Survey Completed By | Gary Ward
SECTION 2: Introduction
DA 10/01/2021 - No heating or hot water GW 11/01/2021 - Follow on works, please see DA's report and address accordingly

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6072
SECTION 3: Report
Attend site 1145 for boiler not working f75 pressure fault Carry out checks and pump ok , pressure sitting at 1.2bar indicated had to increase to 1.7bar indicated to get boiler to run. Strip and clean sensor reassemble but still the same boiler working but requires pressure sensor Offsite 1230 parts required valliant ecofit pressure sensor Gary ward Attended site 09.50am Unable to source part from wolseley, sustain parts not available yet, rang vaillant and boiler installed 2017. Boiler serial number and data badge attached Left 11.10am

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes