## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Moordale Court
Fabian Road
Middlesbrough
TS6 9RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6074
DATE OF REPORT: 10/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6074
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 22 Moordale Court
Fabian Road
Middlesbrough
TS6 9RH
Carried Out On | 10/01/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Job Description - No heating, communal block

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6074
SECTION 3: Report
Attend site 1245 for no heating Gain access to flat 22 and find no heating, trace fault to honeywell 2 port valve not working , take head off and manually open Explain to tennant to use TRV'S to control the heating. We will return next week with a new honeywell 22mm 2 port valve. Tennant has heating Parts required Honeywell v4043h1056 x1 (any engineer can fit it as theres local isolation for water and electricity and head will be ok to change as I've tested the valve and its ok) Offsite 1330 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6074
SECTION 4: Photos
Room / Area
Description
Notes
Faulty 2 port valve new one required
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes