## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Old Custom House
65-67 Borough Road
North Sheilds
NE29 6LH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6075
DATE OF REPORT: 10/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6075
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Old Custom House
65-67 Borough Road
North Sheilds
NE29 6LH
Carried Out On | 10/01/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Job Description - No heating or hot water due to a fire alarm issue.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6075
SECTION 3: Report
Attended site at the request of the call center due to a fire alarm issue, safety circuit was reset and boilers fired. Monitored temperature rise, All ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes