## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 CHIBBURN AVENUE
HADSTON
MORPETH
NE65 9SX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6077
DATE OF REPORT: 20/04/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6077
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 25 CHIBBURN AVENUE
HADSTON
MORPETH
NE65 9SX
Carried Out On | 12/01/2021, 20/04/2021
Survey Completed By | Adam McCallum
SECTION 2: Introduction
Boiler is turned off and Gas is also capped off due to condition of boiler following callout on the 10/01/2021. Please survey and renew the boiler as soon as possible and update Ken White once this has been booked in.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6077
SECTION 3: Report
Survey and photos sent to Dave Aston Replaced platinum combi with logic 30,scale reducer and magnatec filter,commissioned and tested 20/04/21 Attended clients address and there was no one at home so I called miss Davison to say I was here and she replied by saying she forgot we where coming and was away out to collect her children from school and wouldn't be back home for over an hour and said sorry and that she would fix the problem herself. AM

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6077
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6077
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6077
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6077
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6077
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes