## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Thornhill Road
Ponteland
Newcastle Upon Tyne
NE20 9QA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6078
DATE OF REPORT: 18/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6078
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 11 Thornhill Road
Ponteland
Newcastle Upon Tyne
NE20 9QA
Carried Out On | 11/01/2021
Survey Completed By | Phillip Rogerson
SECTION 2: Introduction
URGENT - No Hot Water - Please see work order in email for further description of works

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6078
SECTION 3: Report
Property inspected and no taps dripping or leaks above floor level. Hot water supply leaking under concrete floor. Customer reported a previous leak was under floor behind cooker in kitchen. Temperature track and trace device could be used to locate leak. If leak cannot be found a new hot water supply is required to kitchen sink , this will involve running a new pipe through loft space. Approximately 15m of pipe required from bathroom to kitchen. Customer still has heating and electric shower.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes