## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6081
DATE OF REPORT: 03/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6081
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 20 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 21/01/202114/01/2021 11/01/2021, 26/01/2021, 28/01/2021, 03/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Emma scheme manager reported that the heating was turned down in flat 20 when recent works were carried out and needs to be turned up again. ---- ---- --- - No covid19 concerns and aware of social distancing measures and open windows Emma scheme manager reported that the heating was turned down in flat 20 when recent works were carried out and needs to be turned up again. ---- ---- --- - No covid19 concerns and aware of social distancing measures and open windows

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6081
SECTION 3: Report
Attended site to investigate low UFH temperature. When checking the bedroom, and lounge feeds on the manifold I found the flow and reruns only tepid. Also found the balancing valve fully opened, creating least amount of return to the plant room. I also identified a possible actuator fault, to the bed room, i will source a price and availability from wolesley. I’ve removed actuator head for a temporary measure, until problem is resolved. Attended site to fit replacement actuator head. 26/1/21 Isolated electrical supply, disconnected relevant cables to controller for the actuator that needed replacement. After final connections had been made, a test of the zone that had failed, found operational. Also set time clock as per request from customer, once set instructions where given to override program if needed. Attended 28/1/21 16:20-16:45. Found UFH within flat, fully operational and functional. Found when gaining access to the plant room, found pump fault on heating/UFH circuit, which failed to change duty via the BMS. Have manually changed duty to to pump no2 changing the parameters to a constant curve with a pressure of 12m3/ph, forcing flow throughout the building. Further works. Require grundfos to send engineer to repair failed pump. Also require BMS engineer to investigate fault within system, preventing pump change over. LPC 3.2.21 Took details of failed heating pump and sent through to Dave Aston direvtly via email today . Boiler no.2 and shunt left in hand mode not auto .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6081
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6081
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6081
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6081
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6081
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes