## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 Rothley Grange
Solway Avenue
Cullercoats
NE30 3AU
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6087
DATE OF REPORT: 04/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6087
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 16 Rothley Grange
Solway Avenue
Cullercoats
NE30 3AU
Carried Out On | 11/01/2021, 04/02/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
No Heating - No Covid.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6087
SECTION 3: Report
Attended site to investigate no UFH to flat. When arriving at flat I found no illumination on main controller, tested at mains coming in found 240volts, believe main controller board to be faulty. Have removed all actuator heads so that customer can have some form of heat. Will source parts for repair from wolesley, for quote. Attended 5/2/21 Isolated electrical supply, to fit new UFH controller. When all connections had been made, I found that one of the cartridges had been leaking, damaging the actuator also. Isolated manifold and drained, once the cartridge had been replaced i then replaced the faulty actuator also. I then filled and checked for leaks none found. Once all connections water/electrical had been made, i turned on the power, to find bedroom/bathroom zones working, when checking the lounge thermostat I found that it had failed. Request M/S electrician to attend to replace the room thermostat, in the lounge.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6087
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6087
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6087
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6087
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6087
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes