## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Crossgates
Bellshill Close
Hadrian Park
NE28 9TY
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6089
DATE OF REPORT: 16/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6089
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 20 Crossgates
Bellshill Close
Hadrian Park
NE28 9TY
Carried Out On | 16/06/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
No Heating Please treat as urgent.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6089
SECTION 3: Report
Attended site to investigate no heating to number 20. When asking the manager if any other flats are effected with the same issue, after knocking on several doors on the same zone (2), the problem had been a plant room issue. On gaining access to the plant room, I found that zone 2 pump one had a circulation failure. I then manually changed duty to pump no 2, which then circulated the supply to the relevant zone. Once the temperature had begun to rise, I called in to no 20, and checked the manifold, which also began to rise in temperature. I’ve requested a quotation from Total Pump Solutions, for replacement heads for both zones, as per Dave Aston’s instructions. As zone 1 also has a faulty pump head. I also recommend that a controls engineer attend due to failure for pump change over. Drained down zone 1 and 2 and fit 2 magna 3 pumps refill test and commission to bms all working satisfactory

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes