## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6091
DATE OF REPORT: 12/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6091
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 13 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 12/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Lounge radiator pipe right hand side is leaking and looks to be coming out the protective plastic coating. Leak is causing a water mark on the downstairs flat ceiling. Please attend and fix the leak pipe may need repiped back to manifold.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6091
SECTION 3: Report
Attended site to investigate leaking radiator in lounge. When isolated and drained, found that a small fracture within the 10mm flow pipe entering the TRV. Replaced TRV, and section of 10mm pipe work, once fitted i opened the isolation for the flow and returns. Noticing that the return gate valve had failed to open, due to the spindle snapping due to age. I managed to find further isolation above, I drained down the both the flow and return legs, once drained, I then removed the gate valve paddle, so that the customer would have heating. Recommend that both isolation valves are changed when outside temperature warmer, throughout the building allowing ease of repair and maintenance when required. 22mm lever valves, slight pipe work alterations.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes