## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
32 The Manors
Adderlane Road
West Wylam
NE42 5ET
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6094
DATE OF REPORT: 13/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6094
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 32 The Manors
Adderlane Road
West Wylam
NE42 5ET
Carried Out On | 13/01/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Resident has reported all radiators except main bedroom are giving out minimal heat. Settings set to high and thermostat on high but still not giving much .heat out. Zenith to attend to investigate.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6094
SECTION 3: Report
Attend site 1715 for radiators not heating up, Find both living room and the bathroom LST radiator trvs stuck in the closed position, strip the covers off the radiator covers and strip the trv heads down, free off the pins on the trv and test all ok , radiators heat up instantly so reassemble the trv heads and re fit the LST covers left site all working Offsite 1830 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6094
SECTION 4: Photos
Room / Area
Description
Notes
LST RADIATORS with stuck trv's free off the pins and test all ok
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6094
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes