## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 The Elms
Chester-Le-Street
Co Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6103
DATE OF REPORT: 15/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6103
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 25 The Elms
Chester-Le-Street
Co Durham
DH2 3EJ
Carried Out On | 13/01/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
heating to apartment has gone cool and temp is on 23deg so should be hot on radiators rang in by warden Sharon S ----

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6103
SECTION 3: Report
LPC 13.1.21 1615 - 1640 Arrived on site and gained access to flat . Foynd HMI unit to be working , pump etc all running. Tennent states that heating not as hot as usuall , particularly after a leak had occurred. There is clear evidence of a large leak , that has now been repaired . I removed all actuators from heating manifold , as possibly the actuators may have got wet and req time to dry . One of our engineers to call back in a few days , refit the actuators see if they function ok .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6103
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6103
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6103
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6103
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6103
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes