## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Burn Promendade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-6109
DATE OF REPORT: 30/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6109
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 26 Burn Promendade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 15/01/2021, 22/01/2021, 30/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
I have suggested that to have more control over the individual room temperature that TRV?s are fitted as lock shields are currently fitted. ---- Materials required: ---- 4x 15mm TRV packs with lock shield.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6109
SECTION 3: Report
Attended site at 1500 for heating issues Check operation off room stat and 2 port valve both ok, Isolated the heating flow and return and drain down living room strip out old wheel head radiator valve and replace with a peglar terrier trv 15mm from van stock . Fill and vent system test operation of trv all ok . Parts used 1 no 15mm pegler terrier trv vanstock £21 Offsite 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6109
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6109
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6109
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6109
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6109
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes