## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Alexandra House
Rawdon Road
Sunderland
SR5 5PN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6117
DATE OF REPORT: 15/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6117
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Alexandra House
Rawdon Road
Sunderland
SR5 5PN
Carried Out On | 15/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Ivestigate/repair heating/hot water isssues on 15th Janruary

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6117
SECTION 3: Report
Attended site as follow on from domestic engineer. Found pump lagging as system blocked with sludge, attempted to drag heating through W/C without success. Have advised scheme manager that system needs a complete power flush, also a new 15-60 heating circulator. Would also recommend a conversion from open to unvented, with the added protection of system filter. Or a possibility of a boiler swap from heat only to a system boiler on both sides of scheme. Removing some of the controls out of the loft space. Or a large 35-40kw combi. As the elson pipe jig in the loft space and surrounding pipe work are in poor condition. Pictures will be attached to a email.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6117
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6117
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6117
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6117
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6117
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes