## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Ascot Way
St Helens Auckland
Bishop Auckland
DL14 9AN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6120
DATE OF REPORT: 14/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6120
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 18 Ascot Way
St Helens Auckland
Bishop Auckland
DL14 9AN
Carried Out On | 14/01/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating, boiler vibrating every 20 seconds - F2

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6120
SECTION 3: Report
Attend site 2100 for Ideal logic heat 15 noisey On arrival find boiler on f2 fault carry out tests find condensate trap blocked isolate boiler and strip trap down and clean out by running hot water trough , once cleaned reassemble and test all ok leave site 2200 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6120
SECTION 4: Photos
Room / Area
Description
Notes
Debris from condensate trap
Room / Area
Description
Notes
Boiler work ok no noise
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6120
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6120
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6120
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6120
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes