## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 Mayfield Park
Bristol Drive
Wallsend
NE28 9RH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6126
DATE OF REPORT: 18/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6126
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 34 Mayfield Park
Bristol Drive
Wallsend
NE28 9RH
Carried Out On | 18/01/2021 15/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Call Details No Heating at all since tea time last night. No Covid -19 Zenith leak on manifold.Leak Please treat as Urgent

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6126
SECTION 3: Report
Found minimal return on 2 zones within flat, possible cartridge fault. When on site also I checked in with flat 15 found very low return temperature. Due to return visit to site on 19/1/21 to carry out remedial pipe work. I will make a further investigation, weather the Automatic Balancing Valve has failed. Temporary heaters have been arranged for flat no 34, until further investigations can be carried out. Attended site 18/1/21. Attended site to ensure that correct operation of the UFH controls where correctly fitted. I allowed the zones to cool down, with a thermal imaging camera, I confirmed that all actuators and room thermostats are correctly fitted and operational. Which had been in the correct sequence, spoke with customer and advised that system operating correctly, and is happy with the out come. Have advised tenant that if circumstances change, to contact office to carry out further investigation.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes