## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Vicarage Court
Studley Road
Hartlepool
TS25 1TN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6172
DATE OF REPORT: 19/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6172
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Vicarage Court
Studley Road
Hartlepool
TS25 1TN
Carried Out On | 19/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Mr Hornsey flat 3 reported that the radiators in the communal areas are not coming on. He said that his flat is working ok so assumes all other are too and it is just the communal area.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6172
SECTION 3: Report
Attended site to investigate several radiators within hallways and communal areas not heating. When on site I found that half dozen lock shields closed, also roughly 15 TRV pins stuck. I began to free up the pins doing a walk throughout the building achieving correct circulation throughout. I found one lock-shield with the spindle sheered off in the downstairs W/C. Recommend when outside temperatures increase, in the spring that a return visit, to either drain down system to replace lock-shield, and any other faulty radiator valves if required.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6172
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6172
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6172
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6172
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6172
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes