## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Nent Grove
Hexham
Northumberland
NE46 1DN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6177
DATE OF REPORT: 22/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6177
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 19 Nent Grove
Hexham
Northumberland
NE46 1DN
Carried Out On | 22/01/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Replace gas boiler. Horizontal flue. Will need condensate run installed. ---- Currently no heating or hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6177
SECTION 3: Report
Vaillant in front bedroom Horizontal Gas in 22mm Condensate to be run externally See photos Filter and scale reducer req Big ladders req

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes