## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Towneley Court
Stanley
County Durham
DH9 7NL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6185
DATE OF REPORT: 25/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6185
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Towneley Court
Stanley
County Durham
DH9 7NL
Carried Out On | 25/01/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Hot tap is really spluttering because of this water is splashing everywhere. Requires commercial heating contractor lads to look into why air is in hot pipework entering this flat. Hot tap in kitchen is spluttering with air.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6185
SECTION 3: Report
Attend site 1545 for water spluttering out of kitchen hot tap. On arrival run tap in kitchen for 10-15 mins until it runs without spluttering, trace pipework into corridor, and find 3 flats are fed from the same pipe so check they are working ok, advice tennant to run tap for 5 mins tonight and the same in the morning to clear air in pipework. If it continues an auto air vent needs installing to pipework to help clear air from pipework. Offsite 1700 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6185
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6185
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6185
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6185
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6185
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes