## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6186
DATE OF REPORT: 22/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6186
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 21 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 22/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Unable to turn down living room heating poss valve stuck (underfloor heating)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6186
SECTION 3: Report
Attended site to investigate issue with lounge UFH. When checking operation of room stat, found correct operation. Also observed if the actuator had closed when room stat had been turned off. Found actuator faulty, and also possible cartridge sticking. To allow more comfort for the customer as temporary fix, I reduced the return via the return manifold balancing valve, until the repair is carried out. I’ve ordered the necessary materials to carry out the repairs, which have been ordered via Boarder Heating, which are due to arrive on 26/1/21.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6186
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6186
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6186
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6186
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6186
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes