## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-58 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6234
DATE OF REPORT: 25/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6234
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-58 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 25/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
The thermostat can't be turned and the heating is not working.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6234
SECTION 3: Report
Attended site to investigate no UFH to managers office. When carrying out a site walk through, and reading through the building’s M/E’s to locate the manifold supplying the office as well as the salon. Which was located in the store cupboard to R/H/S of the dining room, once I gained access, I checked for voltage at the office actuator which was present. I then moved on to the Main Heating pumps to check the velocity/head pressure, which had only been set to 0.2 m3/ph. Once gaining access to adjust head pressures with the assistance of TPS, i increased head pressure 5.5 m3/ph Due to the slow take up and temperature increase I’ve asked the manager, to observe the room temperatures over the coming days/week, and report if no temperature increase has been achieved, so that further investigations can be carried out. Please note that this issue has been ongoing since the building had been handed over, and that previous contractors have been attempting to resolve this issue.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes