## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 HOLLY CRESCENT
SACRISTON
DURHAM
DH7 6PW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6238
DATE OF REPORT: 23/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6238
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 HOLLY CRESCENT
SACRISTON
DURHAM
DH7 6PW
Carried Out On | 23/01/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Annual Domestic Service CO Detector Service Domestic Gas Boiler Service Heat Detector Smoke Alarm Service 1 Smoke Alarm Service 1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6238
SECTION 3: Report
Ooh call Arrived at half 3 Found wireless thermostat broken disconnected thermostat will return on Monday with new stat Left job 4 : 30

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes