## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-22 Haven House
Valley View
Leadgate
DH8 7PS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6243
DATE OF REPORT: 26/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6243
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-22 Haven House
Valley View
Leadgate
DH8 7PS
Carried Out On | 26/01/2021 22/01/2021, 25/01/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
no heating in the communal areas. Flats have their own heating so still on. Number 8 has reported that there has been a flood in the basement where the boiler room is and now the boiler is off.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6243
SECTION 3: Report
Attend site after 0930 with parts that are required after plantroom flooded at the weekend Dry boiler out and replace main honeywell PCB also change the 2 no relays Replace drayton 2 port valve on primary circuit to dhw cylinder Replace primary pump (change pump unions ) Replace zone 1 heating pump (change pump unions) Replace zone 3 heating pump There's still shunt pump to change ,shunt pump switch and the indoor sump pump to install Site left with communal heating working and hot water, Offsite 1545 fow Onsite 26/01/21 0730 Isolate shunt circuit and drain down strip out pump and change pump valves , fit new pump fill and vent . Isolate electrical supply to suit pump isolated valve and strip out electrical isolater , replace with new and wire pump up, test operation all ok , when Dhw is being called for primary pump works and shunt pump is off, when DHW is satisfied the primary pump is switched off and the boiler puts power onto the shunt pump, so when panel is satisfied and the 3 zone heating pumps switch off there is still circulation. Parts used 1 no heating pump on shunt circuit 1 no 13amp switched fused spur 3 no 3amp fuses Fit sump pump into inside sump , alter 11/4" plastic pipe and fit none return valve to pipe and wire up , site is up and running and fully functional Offsite 1000 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6243
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6243
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6243
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6243
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6243
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes