## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Basildon
Leam Lane
Sheraton
NE10 8JP
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6250
DATE OF REPORT: 24/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6250
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 6 Basildon
Leam Lane
Sheraton
NE10 8JP
Carried Out On | 23/01/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Job Description - No heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6250
SECTION 3: Report
Ooh call out arrived at 5:11 pm New vaillant low pressure Topped pressure up checked for leaks Tested expansion vessel all ok Left at 6 pm Called out second time different fault code f28 found blocked condensate arrived at 7pm left at 7:30 Need to get installer to go back and visit

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6250
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6250
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6250
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6250
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6250
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes