## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Windsor Grange
Howdon
Newcastle upon Tyne
NE28 0NP
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6259
DATE OF REPORT: 26/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6259
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 22 Windsor Grange
Howdon
Newcastle upon Tyne
NE28 0NP
Carried Out On | 26/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
No heating in bathroom. Please treat as urgent.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6259
SECTION 3: Report
CN 09.15-11:00 Attended site to investigate low W/C room temperature. Carried out voltage checks to the actuator, and room stat found ok. Also removed actuator head to check movement of cartridge, which had full range of movement. Once gaining access to the plant room I noticed that one of the V.T. Zones where only maintaining a temperature of 48 degrees, when checking temperatures at the BMS, all controls had been disabled. I’ve emailed Dave Aston with my findings, and he’s requesting a site visit for a controls engineer to attend and investigate.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6259
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes