## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
51 Millersfield
Acomb
Hexham
NE46 4RQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6265
DATE OF REPORT: 27/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6265
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 51 Millersfield
Acomb
Hexham
NE46 4RQ
Carried Out On | 27/01/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Boiler currently on but main heat ex leaking; ---- ---- Boiler is a vaillant ecotec 824 with a vertical flue located on grounf floor. Will require a neomitis control and Magnaclean. Renew with ecotec pro 28.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6265
SECTION 3: Report
Vaillant ecotec pro 28 Bungalow Horizontal flue pitched roof 4 x flue extension Condensate terminates indoors Gas is 22mm Filter and scale reducer req

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6265
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6265
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6265
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6265
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6265
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes