## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Oakwood Court
Stanley
County Durham
DH9 8NE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6270
DATE OF REPORT: 26/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6270
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Oakwood Court
Stanley
County Durham
DH9 8NE
Carried Out On | 26/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Awaiting for contrator to come out and see to valve on bedroom radiator. Nobody has been yet and tenant is really starting to feel the cold as valve needs replacing. Vulnerable tenant.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6270
SECTION 3: Report
C.N 15:25-16:00. Attended site to free up wheel head lock-shield, so that customer can reduce and increase temperature when required. Applied WD40 to spindle, working the oil into the valve body, instructing the customer on how to use both the valve and the room thermostat. Recommend that TRV’s are fitted throughout, as when outside temperatures begin to increase, as pipe work 1/2” steel, would require partial drain down, or to be frozen.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes