## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Tynedale Court
Haltwhistle
Northumberland
NE49 9LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6272
DATE OF REPORT: 27/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6272
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 Tynedale Court
Haltwhistle
Northumberland
NE49 9LF
Carried Out On | 27/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Tenant from flat 3 has reported no heating at all has hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6272
SECTION 3: Report
C.N. 27/1/21. On arriving to site, the customer informed me that he had total loss of electrical power, and that a electrician had attended on 26/1/21. When checking the controls for power, across the pump, zone valve and stat there was no power present. After speaking with the customer again he informed me that the electrician had disconnected cables in the DB panel. Electrician required to carry out remedial works in DB, so that correct diagnosis can be carried out. Have left 2 temporary heaters.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6272
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6272
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6272
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6272
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6272
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes