## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 Ferndene
Threap Gardens
Howdon
NE28 7HT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6280
DATE OF REPORT: 01/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6280
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 28 Ferndene
Threap Gardens
Howdon
NE28 7HT
Carried Out On | 27/01/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Please treat as urgent. No hot water in the whole building.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6280
SECTION 3: Report
Attended site to find no flow through hot water cylinders which was the cause of the reported low hot water temps on site. I disconnected DHWS1 and DHWS2 Actuators from the valve body to allow water to flow around the coils within the tanks. Follow on works required by BMS engineer to determine underlying reason behind the inaction/failure of components, no readings were available on the schneider magelis control panels 2 Hours out of hours.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6280
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6280
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6280
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6280
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6280
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes