## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 St Cuthberts Close
Hexham
Northumberland
NE46 2HU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6281
DATE OF REPORT: 28/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6281
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 St Cuthberts Close
Hexham
Northumberland
NE46 2HU
Carried Out On | 28/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Please send an engineer to look at the residents heating. The hot water is intermitent sometimes taking a very long time to heat up. She is also having issues with the timer controls.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6281
SECTION 3: Report
Attended site to investigate delayed DHW delivery. When gaining access to the flat, customer had informed me, that she had to wait for over 2 1/2lts of water before any DHW had began to get hot. I checked the boiler temperatures in the parameters, found DHW set to 56 degrees, after increasing the temperature to 60 degrees and testing with a digital thermometer, achieving 54-56 the customer had been satisfied. Further more the customer had told me that they where cold, as they only had one room stat turned on, I advised to turn on the hallway stat, to assist warming up the flat as a trial period.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6281
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6281
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6281
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6281
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6281
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes