## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Egglestone Road
Redcar
TS10 4JG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6286
DATE OF REPORT: 28/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6286
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 15 Egglestone Road
Redcar
TS10 4JG
Carried Out On | 28/01/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Tenant has no gas As discussed NGN attended for a gas leak found it to be on one of these fittings entering the building the is a couple of low carbon steel fittings and 22mm copper elbow

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6286
SECTION 3: Report
LPC 28.1.21 1315 - 1750 Gary 1630 - 1750 Arrived on site and gained access to property . Carried out domestic tightness test using air and agreed , that 22 mm copper fitting to be leaking . Cut out copper externally and internally , remade 3/4 steel fittings externally. Tested again with steel fittings capped , this time found length to be tight . Waited for Gary to arrive with pipe work and fittings , to allow repair to be carried out . Replaced the 22 mm copper through the wall and fitted a sleeve. Carried out an other tightness test and found pipe to be tight as before , test all stell pipe work with gas sniffer. Sealed pipe work through wall externally with a non setting compound . Left site tidy

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6286
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6286
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6286
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6286
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6286
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes