## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tindale Drive
Fellside Park
Whickham
NE16 4HX
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-6288
DATE OF REPORT: 29/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6288
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Tindale Drive
Fellside Park
Whickham
NE16 4HX
Carried Out On | 29/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Arrived at Tindale Drive and found that there is a beeping in the boiler room upon investigation we have found that Boiler 2 is displaying 'locked out' on the display panel---- unsure what this means- can this be checked out.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6288
SECTION 3: Report
Attended site to investigate noise coming from plant room. After gaining access to the plant room, found boiler no2 locked out, have rest boiler and silenced alarm on controls, as temp measure. L.C Will be attending to carry out further works and investigate fault.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes