## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 John Wilson Court
Horden
Peterlee
SR8 4ED
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6294
DATE OF REPORT: 28/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6294
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 14 John Wilson Court
Horden
Peterlee
SR8 4ED
Carried Out On | 28/01/2021
Survey Completed By | James Moore
SECTION 2: Introduction
No heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6294
SECTION 3: Report
Arrived at 5:40 OOH call out New install customer wasn’t shown how to use new thermostat and wasn’t sure how to turn heating on or off , advised customer on use of controls Customer also reported small radiator in spear room not heating up it needs new rad valve please pass back to damha to replace

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6294
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6294
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6294
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6294
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6294
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes