## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville
1 to 31 Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6295
DATE OF REPORT: 29/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6295
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Chapelville
1 to 31 Front Street
Seaton Burn
NE13 6EH
Carried Out On | 29/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Leak on manifold for heating in office, pipes located in buggy store cupboard.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6295
SECTION 3: Report
Attended site to carry out cartridge replacement to leaking manifold in buggy store. Isolated and drained manifold, removed cartridge’s and replaced with new, using silicone grease on o-rings. When fitted and tightened, filled and vented manifold, refitted actuator heads. No leaks present. Van stock used 20-2578 2x cartridge’s. Gacomni Please note that manifold that the work that has had new cartridges, has potential faulty controller, require extra time to carry out further investigations, to ensure that the office room thermostat controls the manifold that has just been repaired in the buggy store, as there is minimal to no identification allowing ease to identify. Awaiting response from boarder heating for ETA of new controller.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6295
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6295
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6295
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6295
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6295
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes