## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Matfen Court
Chester-Le-Street
County Durham
DH2 2TX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6296
DATE OF REPORT: 22/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6296
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 25 Matfen Court
Chester-Le-Street
County Durham
DH2 2TX
Carried Out On | 03/02/2021, 22/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Replacement radiator required in lounge

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6296
SECTION 3: Report
Attend site 1700 to price up for radiator replacement Find old radiator is a 1430mm x 430mm single , piped up in 1/2" steel. I propose to isolate and drain down the living room radiator and strip out. Using a freeze kit freeze flow pipe work below 12" steel socket and strip out , fit a male iron to copper union and a piece of pipe then a full bore isolation valve. Freeze the return pipework and strip out the radiator valve install a 1/2" female iron to copper a piece of pipe and a full bore isolation valve. Fit radiator higher than original, and pipe up from the isolation valve in copper flow high level return low level, install new trv and lockshield. radiator has to be a top entry! 1 no 1400 x 450 sc radiator. 1 no 15mm copper tube 1 no 15mm trv / lockshield pack 1 no 1/2" female iron to copper 1 no 1/2" male iron to copper Hire a freeze kit Pick up trv and travel to site onsite 0930 try isolating radiator find not working, so isolate heating and pumps in plantroom , freeze pipework in living room and change out trv this warmed up the radiator but still not hot to the bottom , again isolate heating in plantroom freeze pipework in lounge cut out pipework and repipe trv to the bottom of the radiator instead of top entry test all ok . Radiator now hot throughout tenant happy . Parts used 1 x 1/2" danfoss trv 2 no freeze bottles Off site 1215 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6296
SECTION 4: Photos
Room / Area
Description
Notes
1430mm x 430mm s panel radiator piped up in steel
Room / Area
Description
Notes
Trv piped at low level
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6296
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6296
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6296
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6296
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes