## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Towneley Court
Stanley
County Durham
DH9 7NL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6301
DATE OF REPORT: 01/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6301
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Towneley Court
Stanley
County Durham
DH9 7NL
Carried Out On | 29/01/2021, 01/02/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Tenant complaining that radiator still isnt working. Is only heating up for a very short time then going cold. Struggling as she's really feeling the cold. ---- ---- Tenant is 84

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6301
SECTION 3: Report
To attend 1/2/21 to freeze/ drain pipe work, to fit bi-directional TRV to opposite side to existing radiator/pipe work, on a single pipe system and new lock-shield as per david Hunters instructions. Materials Freeze kit Belmont trv Lock-shield Loctite Jet blue. Attended site 1/2/21. After gaining access to the plant room and isolating the heating pumps, i head to the customers flat, then begun to freeze the 1/2” pipe work to lounge radiator, to replace TRV to allow full operation. When pipe work had been completely frozen, i isolated the lock-shield and then removed the remaining pressure via the existing TRV, with a wet-vac. When satisfied and safe to do so I removed existing TRV, re-taped up 1/2” pipe-work and fitted new danfoss TRV. Once tight and sealed, i the turned on heating pumps, also opening up lock-shield, observing valve for any leaks, which none present. Allowed the radiator to heat up, and tested TRV for operation, found all ok. Tidied up work area, customer happy with works carried out.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6301
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6301
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6301
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6301
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6301
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes