## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
30 Athlone Court
Blyth
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6302
DATE OF REPORT: 01/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6302
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 30 Athlone Court
Blyth
NE24 1EW
Carried Out On | 01/02/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Isolate Heating/HW system to allow for repair from Karbon Plumber ---- Contact Kevin Thompson to arrange access - 07736 900 224

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6302
SECTION 3: Report
Attended site 1/2/21 To locate and isolate flat no30, after tracing pipe work which had been on ground floor hallway, outside of flat no29. After gate valve had been identified, i applied WD40 due to age, once valve had been worked allowing the lubricant work into the valve, to allow correct operation. Once free movement of the valve had been achieved, I then closed the gate valve, allowing Kevin to fit local isolation to the DHW circuit, so that the bathroom refurb can be carried out. Tested all new isolation valves no leaks present.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes