## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Oakwood Court
Stanley
County Durham
DH9 8NE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6333
DATE OF REPORT: 02/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6333
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Oakwood Court
Stanley
County Durham
DH9 8NE
Carried Out On | 02/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Valve on bedroom radiator has come off gentleman cant turn the radiator on --- - communal heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6333
SECTION 3: Report
Attend site 1245 for radiator not working , Find radiator lockshield turned off , strip cap off locking open up with a pair of grips, wait for radiator to heat up all ok . Tennant hasn't been in the flat long and hasn't been shown how to use the heating so show him how to the heating (use the room stat ) all ok Offsite 1330 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6333
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6333
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6333
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6333
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6333
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes