## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Castle Close
Fellside Park
Whickham
NE16 4HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-6335
DATE OF REPORT: 02/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6335
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 25 Castle Close
Fellside Park
Whickham
NE16 4HU
Carried Out On | 02/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Attendance with Esh

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6335
SECTION 3: Report
Attend site 0745 to meet an Esh Facility Engineer to isolate mains hot water to allow a new mixing shower to be fitted Gain access to flat and isolation valves find no isolation on the hot water return pipework so isolate in the plant room drain flat down and Esh Facility engineer installed new shower , on completion the hot water was reinstated and any air bled through the taps, I left site with all services working Offsite 0900 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes