## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Tindale Drive
Fellside Park
Whickham
NE16 4HX
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-6337
DATE OF REPORT: 02/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6337
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 26 Tindale Drive
Fellside Park
Whickham
NE16 4HX
Carried Out On | 02/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
staff not onsite currently so for access please contact Lynn Ewart who will be carrying out some weekly checks and arrange a date/time to attend Mob: 07889810295 - the heating in 26 is red hot and making a banging sound

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6337
SECTION 3: Report
Onsite 11.00 for pipework making a noise and radiators not turning off Gain access to site room 26 void but has been left open find hallway radiator hot but room stat off , check operation of stat all ok. Search for the heating actuator and find in the loft space in the utility room, using t My steps gain access to to ceiling void and find 3 port valve stuck in the mid position, tack the actuator off the 3 port valve and free spindal off with an adjustable wrench , refit actuator head and test operation valve now closing when room stat turned off and opening up fully when stat turned on. Compete 1230

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6337
SECTION 4: Photos
Room / Area
Description
Notes
Valve stuck in mid position
Room / Area
Description
Notes
Actuator reassembled and work correctly
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6337
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6337
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6337
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6337
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes