## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flats 16 & 17 St Johns Court
Front Street
Sacriston
DH7 6JA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6339
DATE OF REPORT: 06/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6339
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flats 16 & 17 St Johns Court
Front Street
Sacriston
DH7 6JA
Carried Out On | 02/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Flats 16 and 17 are reporting no heating and no hot water. Reported by plumber on site.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6339
SECTION 3: Report
Attebd site 1400 for no heating Gain access to flat 17 and 16 find all pipework cold to radiators trace back to where it enters the property from the plantroom and find it all at high level then drops down to the floor and joins the main heating pipework. This has no air vents so had to pull water through the the radiator using a hose , once the valves open the air is cleared from the pipe work. Raditors all heating up Complete 1500

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6339
SECTION 4: Photos
Room / Area
Description
Notes
Clearing air locks from heating pipework all ok now
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes