## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville
1 to 31 Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6340
DATE OF REPORT: 01/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6340
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Chapelville
1 to 31 Front Street
Seaton Burn
NE13 6EH
Carried Out On | 02/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
URGENT: Today the RED Fault Light is on, on the panel No 1 DHWS Water Heater says: HTR Service Due / Standby / Post Purge No 2 DHWS Water Heater says: LOCK OUT Man Rst Hi Limit please remedy and treat as urgent.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6340
SECTION 3: Report
LPC 2.2.21 1520 - 1610 Arrived on site and gained access to plantroom area . Found RHS water no.2 in high limit trip mode . Reset and fired up appliance , monitored functions and performance. Took appliance details and set over to Spencer at border heating . Reccommed fitting new thermisters and flue temp thermister also . These are the first items that Lochinvar reccommed replacing , when this fault occurs . Parts have been orderd and job no issued to spencer

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes