## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Preston Court
Roseberry Avenue
North Sheilds
NE29 9PG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6342
DATE OF REPORT: 03/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6342
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Preston Court
Roseberry Avenue
North Sheilds
NE29 9PG
Carried Out On | 03/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Just to confirm I need to return to site tomorrow 03/02/21, to cut out the leaking condensate line. If its left any longer it will cause serious damage. Dave Aston is aware of this . The actual gas service works are complete, this is works off the back of that job. LC 02/02/21 DH Sending Quote

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6342
SECTION 3: Report
LPC 3.2.21 0725 - 1105 Note --- Left home at 07:25 am and did arrive at suppliers until 09:05 , due to A19 being closed as areas flooded - text sent to Dave Aston . Called to suppliers and collected pipe work and fittings req. Arrived on site and gained access to plantroom , isolated boilers. Cut out leaking fitting ( see images taken ) as fittings had just rotted through. Replaced fitting and pipe work as req .. Turned boilers back on and tested new pipe work , all ok .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6342
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6342
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6342
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6342
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6342
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes