## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flats 3 & 12 Mayfield Park
Bristol Drive
Wallsend
NE28 9RH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6346
DATE OF REPORT: 04/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6346
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Flats 3 & 12 Mayfield Park
Bristol Drive
Wallsend
NE28 9RH
Carried Out On | 04/02/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Complaints received about heating going off in flats 3 & 12.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6346
SECTION 3: Report
Attended site to investigate flat no’s 3-12. When checking the manifold’s in both flats, I found that the flow restrictors on the flow side’s only open half way. I opened up them up to allow more flow to the zones in both jobs, after allowing 30-45 minutes for the zones to begin to return allowing correct circulation, with a digital thermostat there had been a 3-5 degree rise in both of the flats, due to the system installation there is a delay in temperature increase. I’ve instructed the tenants of any temperature loss so that further investigations can be carried out.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes