## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Lynwood House
34 Duham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6348
DATE OF REPORT: 11/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6348
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Lynwood House
34 Duham Road
Lanchester
DH7 0LS
Carried Out On | 03/02/2021, 17/06/2021, 21/06/2021, 20/07/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Repairs to boiler number 1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6348
SECTION 3: Report
LPC 3.2.21 1110- 1605 Collected materials and proceeded to job. Arrived on site and attempted to carry out repair to boiler no.1 , by drilling out snapped studs Found that heat ex has failed and will req replacing . Either new heat ex with new internal flue or new boiler. Boiler left isolated as ID as per warning notice issued on service visit . Dave Adton aware Been and tried to remove but could do with some more time allotted to this to try and remove front plate and burner Spoke to Dave Aston about this Managed to salvage the heat exchanger but requires a pack b service kit plus 1 stud and front door plate burner is fine Replaced components drilled out snapped studs all completed and working correctly now

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes