## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 The Elms
Chester-Le-Street
Co Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6349
DATE OF REPORT: 05/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6349
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 The Elms
Chester-Le-Street
Co Durham
DH2 3EJ
Carried Out On | 05/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Commercial Boiler Repairs - heating is stuck on - reported by Sharon from scheme - No Covid issues.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6349
SECTION 3: Report
LPC 5.2.21 1140 - 1240 Gained access to flat and tested underfloor heating actuators . Found 2 x of the actuators to be virtually unattached to cartridge, so permanently allowing heat to pass . Carried out repair as req , allowed time to then monitored functions and performance. Foynd cartridges and actuators to be working all ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes